## DATA
ts_datetime | ts_frc | ts_wattemp | ts_cond | hh_datetime | hh_frc

## INSTRUCTIONS
Instructions for entry of your water quality data into the SWOT template:
1 | Organize your data according to the 6 column headings (field codes) in the template - no columns should be added or removed form the template
2 | The table below gives each of these headings, the data associated with each, the required units and the format that must be used:
| Field code | Description | Units | Format | Example | Condition
| ts_datetime | Date and time of measurements made at the point of distribution (PoD) | year, month, day and 24hr time | yyyy-mm-ddThh:mm | 2020-01-31T14:30 | Required data
| ts_frc | FRC measured at the PoD | mg/L | number (usually to one decimal places) | 1.2 | Required data
| ts_wattemp | Water temperature at the PoD | degrees Centigrade (oC) | number (usually to one decimal places) | 27.4 | Ideal, not obligatory
| ts_cond | Water conductivity at the PoD | µS/cm | number (usually to one decimal places) | 300 | Ideal, not obligatory
| hh_datetime | Date and time of follow-up measurements at the household (hh) | year, month, day and 24hr time | yyyy-mm-ddThh:mm | 2020-01-31T14:30 | Required data
| hh_frc | FRC measured at the household | mg/L | number (usually to one decimal places) | 0.85 | Required data
Note the 'T' between the date and time.
3 | Water temperature and electrical conductivity measurements are useful for the SWOT analysis and should, where possible be included. If the means to make these measurements
is not available for field teams then any routine water quality data figures can be used instead.
4 | Once data entry is complete then save the file with a name that includes the country, project site and date - use something that makes sense for your reference.
5 | The data can now be uploaded by selecting the ‘Upload’ button on the main ribbon at the top of the web page and following the instructions, using the ‘Choose files to upload’
button to navigate to your saved Excel data sheet or dragging and dropping the file within the framed box at the bottom of the page.
6 | The results from your analysis will be available after several minutes and you can find them on the 'Results' tab of the SWOT page. Make sure to find your project from the top bar on
the page and then find the file. If the results are ready then 'Download' will be displayed in the 'Status' column - click on this and a file will download into your browser, ready to be viewed.